## Building Committee Meeting Minutes

Thursday, September 11, 2008 - 12:30 p.m.

Scott Coleman called the meeting to order at 12:35 pm.

Attendees:  Jenny Snapp, Bill Kelley, Scott Coleman, Don Walters, Bill Edwards, Mike Bow, and Andy Yoder.

New Business:

- Discussion over basement quotes from JD Basement System and The Basement Guys and work that would be done.  The concern is doing such a high cost of repairs to a building that is not of high value.

- Look into doing repairs in phases, having local contractors come in and give quotes for various of repairs

- Suggestion for covering costs is LUC will pay for half and then the other half will be split among the three counties.  Champaign County would be willing to do this, but not sure if the other two would be willing.  Open for other suggestions.

- A big issue is the mold in the building and the impact this could have on the employees.  Possibly have air samples tested to see if mold is an issue throughout the building.

- Parking was discussed, but East Liberty offers plenty of parking options, if everyone is willing to walk a short distance.

- Jenny and Scott will get in touch with the trustees to see what plans they have coming up in the next five years

- Suggestions for contractors to contact for repairs would be helpful

- For budget purposes will use the amount $30,000

- Summary of repair items/issues:

- Quote for repairs to masonry

- Repair to windows

- Remove plastic and insulation with negative air

- Treat surface to kill mold and inhibit growth

- Install drain tile and sump pump

- Remove and rebuild stairs

- Handicap accessibility

- Repair soft spots (hole) near front door

- Extend downspouts

- Parking